| VC-60Ⅱ 系列 特点 - 二线制、六线制均适用。 - 功率容量可扩展至30瓦、60瓦、120瓦和200瓦。 性能规格 型号; 特性; 容量. ## VC-60Ⅱ; 音控器; ## 6W/30W. VC-60FⅡ; 带强插和扩展 功能的音控器; 6W/30W. EH30/60/120/200; 扩展器; 30W/60W/120W/200W. 连接方法 1、 二线制连接 2、 六线制连接 |  | 2、 六线制连接 3、 容量扩展 DSPPA ACOUSTIC TECHNOLOGY CO. LTD. |
| --- | --- | --- |
| VC-60Ⅱ 系列 特点 - 二线制、六线制均适用。 - 功率容量可扩展至30瓦、60瓦、120瓦和200瓦。 性能规格 型号; 特性; 容量. ## VC-60Ⅱ; 音控器; ## 6W/30W. VC-60FⅡ; 带强插和扩展 功能的音控器; 6W/30W. EH30/60/120/200; 扩展器; 30W/60W/120W/200W. 连接方法 1、 二线制连接 2、 六线制连接 |  | 2、 六线制连接 3、 容量扩展 DSPPA ACOUSTIC TECHNOLOGY CO. LTD. |

广播信号线 (热端)

广播信号线 (冷端)

紧急信号线 (热端)

紧急信号线 (冷端)

告警线 (24V)

告警线 ( 0V)

# HOT1

COM1

HOT2

COM2

24V

0V

公  共

广播网

# 24V  0V

HOT2  COM2  HOT1  COM1  SP+  SP-

ALARM

音控器 VC-60FⅡ

广播信号线 (热端)

广播信号线 (冷端)

紧急信号线 (热端)

紧急信号线 (冷端)

告警线 (24V)

告警线 ( 0V)

# HOT1

COM1

HOT2

COM2

24V

0V

公  共

广播网

# 24V  0V

HOT2  COM2  HOT1  COM1  SP+  SP-

ALARM

音控器 VC-60FⅡ

音量控制器

广播信号线 (热端)

广播信号线 (冷端)

HOT

COM

公  共

广播网

HOT  COM  SP+  SP-

音控器 VC-60Ⅱ

扩展器

EH30/60/120/200

其他端子      EXT

音控器

5线

去广播网

音量控制器

广播信号线 (热端)

广播信号线 (冷端)

HOT

COM

公  共

广播网

HOT  COM  SP+  SP-

音控器 VC-60Ⅱ

扩展器

EH30/60/120/200

其他端子      EXT

音控器

5线

去广播网

| VC-60Ⅱ series FEATURES - 2-wire and 6-wire are applied to VC-60Ⅱseries. - Power capacity can be extended to 30W, 60W, 120W & 200W. SPECIFICATIONS Model; Property; Capacity. VC-60Ⅱ; Volume controller; 6W/30W. VC-60FⅡ; Volume controller With extend & EMC function; ## 6W/30W. EH30/60/120/200; Extender Transformer; 30W/60W/120W/200W. CONNECTIONS 1. 2-wire mode |  | 2. 6-wire mode 3. Capacity extension DSPPA ACOUSTIC TECHNOLOGY CO. LTD. |
| --- | --- | --- |
| VC-60Ⅱ series FEATURES - 2-wire and 6-wire are applied to VC-60Ⅱseries. - Power capacity can be extended to 30W, 60W, 120W & 200W. SPECIFICATIONS Model; Property; Capacity. VC-60Ⅱ; Volume controller; 6W/30W. VC-60FⅡ; Volume controller With extend & EMC function; ## 6W/30W. EH30/60/120/200; Extender Transformer; 30W/60W/120W/200W. CONNECTIONS 1. 2-wire mode |  | 2. 6-wire mode 3. Capacity extension DSPPA ACOUSTIC TECHNOLOGY CO. LTD. |

Signal line (Hot)

Common line (Com)

Exigent line (Hot)

Exigent line (Com)

Alarm line (24V)

Alarm line ( 0V)

HOT1

COM1

HOT2

COM2

24V

0V

Public

Address

Network

# 24V  0V

HOT2  COM2  HOT1  COM1  SP+  SP-

ALARM

# Volume controller VC-60FⅡ

# To Public Address Network

Extended Transformer

EH30/60/120/200

Other  terminals     EXT

5 LINES

# Volume controller

Signal line (Hot)

Common line (Com)

Exigent line (Hot)

Exigent line (Com)

Alarm line (24V)

Alarm line ( 0V)

HOT1

COM1

HOT2

COM2

24V

0V

Public

Address

Network

# 24V  0V

HOT2  COM2  HOT1  COM1  SP+  SP-

ALARM

# Volume controller VC-60FⅡ

# To Public Address Network

Extended Transformer

EH30/60/120/200

Other  terminals     EXT

5 LINES

# Volume controller

Volume Controller

HOT

COM

Public

Address

Network

HOT  COM  SP+  SP-

Volume controller VC-60Ⅱ

Signal line (Hot)

Common line (Com)

Volume Controller

HOT

COM

Public

Address

Network

HOT  COM  SP+  SP-

Volume controller VC-60Ⅱ

Signal line (Hot)

Common line (Com)